| Bourdon Tube Pressure Gauges MAN-R, MAN-Q |  |  |  |  |
| --- | --- | --- | --- | --- |
|  |  | Download PDF datasheet | Measuring range: -1 up to 0 ... 0 up to 1000 bar Connection: G 1/4, G ½ AG, brass Housing Material: st. st., plastic Diameter of housing: 63, 80, 100, 160 mm Accuracy class: 1,6 or 1,0 Option: contacts, glycerine filling |  |
| All Stainless Steel Bourdon Tube Pressure Gauges MAN-R |  |  |  |  |
|  |  | Download PDF datasheet | Measuring range: -1 up to 0 ... 0 up to 1000 bar Connection: G 1/4, G ½ male, st. st. Housing Material: st. st. Diameter of housing: 63, 100, 160 mm Accuracy class: 1,6 or 1,0 Option: contacts, glycerine filling |  |
| All Stainless Steel Bourdon Tube Pressure Gauges for Exceptional Safety MAN-R...S |  |  |  |  |
|  |  | Download PDF datasheet | Measuring range: -1 up to 0 ... 0 up to 1000 bar Connection: G 1/4, G ½ male, st. st. Housing Material: st. st. Diameter of housing: 63, 100, 160 mm Accuracy class: 1,6 or 1,0 Option: contacts, glycerine filling |  |
| Bourdon tube pressure gauges for refrigerants MAN-T |  |  |  |  |
| Pressure Gauge Digital with Ceramic Sensor Element MAN-LD |  |  |  |  |
|  | Download PDF datasheet | Measuring range: -1 up to 0 ... 0 up to 1600 bar Connection: G ¼, G ½ male, ¼ NPT, ½ NPT st. st. Housing Material: glasfibre reinforced plastic Diameter of housing: 74 mm Accuracy class: 0,5 Power supply: 24 VDC ± 20% Option: contact, analogue output, peak memory |  |  |
| Differential Pressure Gauge with Diaphragm MAN-Dx2A |  |  |  |  |
|  | Download PDF datasheet | Measuring range: 0 up to 25 mbar ... 0 up to 25 bar Connection: G ¼ female, aluminium Housing Material: st. st. Diameter of housing: 100, 160 mm Accuracy class: 1,6 Option: glycerine filling |  |  |
| Differential Pressure Gauge with Bourdon Tube MAN-DG12R. Download PDF datasheet; Measuring range: 0 up to 1 bar ... 0 up to 60 bar Connection: G ½ AG, brass Housing Material: steel, aluminium Diameter of housing: 160 mm Accuracy class: 1,6 Option: glycerine filling. | Download PDF datasheet | Skale: pressure and 1..3x temperature Measuring range: -1 up to +9....-1 up to +40 bar Connection: G 1/4st. Steel, 7/16 UNF brass Housing Material: steell, st. St. Diameter of housing: 63, 80, 100 mm Accuracy class: 1,6 or 1,0 Option: contacts, glycerine filling |  |
| Capsule Element Pressure Gauges MAN-K |  |  |  |  |
|  |  | Download PDF datasheet | Measuring range: -25 up to 0 mbar ... -600 up to 0 mbar 0 up to 25 mbar ... 0 up to 600 mbar Connection: G 1/4, G ½ AG, brass Housing Material: st. st. Diameter of housing: 63, 80, 100, 160 mm Accuracy class: 1,6 |  |
| Diaphragm Pressure Gauges MAN-P |  |  |  |  |
|  |  | Download PDF datasheet | Measuring range: -16...0 up to 0...250 mbar, -1...0 up to 0..40 bar Connection: G ½ male, steel, st. st. Housing Material: st. st. Diameter of housing: 100, 160 mm Accuracy class: 1,6; 2 ,5 Option: contacts, glycerine filling |  |
| Differential Pressure Sensor PMP |  |  |  |  |
|  | Download PDF datasheet | For air or neutral gases (e.g. monitorng of filters) Measuring range: 0 up to 500 Wc (0..50 mbar) Connection: hose connector 6x8 mm Indication: 4-digit LED Analogue output 4-20 mA, 2 relay (max. 230 Vac, 0,5 A) Power supply: 24, 110, 230 VAC, 24 VDC |  |  |
| Differential Pressure Gauge PAD |  |  |  |
|  | Download PDF datasheet | Measuring range: 0...41370 kPa Connection: ¼ NPT, ½ NPT Housing Material: st. st. Accuracy: ±0,075% of meas. range |  |
| All Stainless Steel Pressure Gauge with All Stainless Steel Pressure Gauge with In-Line Diaphragm Diaphragm MAN-RF..M1..DRM-628 |  |  |  |  |
|  | Download PDF datasheet | with diaphragm seal Measuring range: 0 up to 1 ... 0 up to 40 bar Connection: flange DN25 - DN 100, st.st. Diaphragm: 24 up to 64 mm, st. steel Housing Material: st. st., aluminium Diameter of housing: 100 mm Accuracy class: 1,6 Option: contacts, glycerine filling, remote version, vibration damping |  |  |
| Pressure Switch with Ceramic Element/Thin Film PSC |  |  |  |  |
|  | Download PDF datasheet | Switching range: -1 up to +2 bar ... 0 up to 700 bar Connection: G 1/4, G 1/2, ¼ NPT, ½ NPT Housing: st. st. Max. temperature:80 °C (media) 2 Semiconductor PNP/NPN or 1 Semiconductor PNP/NPN and analogue output digital display, programmable |  |  |
| Pressure Sensor with Diaphragm Seal and AUF SEN..DRM-600 |  |  |  |  |
|  | Download PDF datasheet | with diaphragm seal Measuring range: 0 up to 6 ... 0 up to 600 bar Connection: G ½ - 1 ½, ½ - 1 ¼ NPT, M20x1,5, M48x3 Diaphragm: 18 up to 40 mm, st. steel Housing Material: st. st. Accuracy class: 1,0 Analogue output, digital indicator Option: remote version, vibration damping |  |  |
| Pressure Transmitter PAS |  |  |  |  |
|  | Download PDF datasheet | Measuring range: -1 up to 0 bar ... 0 up to 400 bar Connection: G 1/4, G 1/2, ¼ NPT, ½ NPT Housing: st. st. Max. temperature:80 °C (media) analogue output 0(4)-20 mA, digital display |  |  |
| Pressure Switch with st. st. Sensor System SCH-DNS |  |  |  |  |
|  | Download PDF datasheet | Switching range: -250 up to 100 mbar ... 3 up to 16 bar Connection: R 1/2 male and 1/4 female Housing: aluminum (sea-water resistant) Max. temperature:85 °C (media) Micro switch |  |  |
| Vacuum Switch SCH-VCM |  |  |  |  |
|  | Download PDF datasheet | Switching range: -15 -up to +6 mbar ... -1 up to +0,1 bar Connection: R 1/2 male and 1/4 female Housing: brass, st. st. Max. temperature:85 °C (media) Micro switch, option: proximity switch |  |  |
| Press./Diff. Press. Switch for neutr. gases SCH-HCD, SCH-DPS |  |  |  |  |
|  | Download PDF datasheet | Switching range: 0,2 up to 3 mbar ... 15 up to 150 mbar 40 up to 400 mPas...500 up to 2500 mPas Connection: G 1/8, G ¼ female, stub 6 mm Housing: PA/POM, aluminum Max. temperature: 60 (85) °C (media) Micro switch |  |  |